## Slide 1
MILESTONES Ongoing
Milestone No. | Task
1 | Equipment & Raw Material Procurement
2 | Device Development
3 | User Interface
4 | Testing & Optimization
5 | Fabrication of Enclosure
6 | Design & Fabrication of PCB

## Slide 2: Real-time Pressure Monitoring Device for Compliant Balloon Catheter
Sr. No. | Milestone | Status
1. | Design of Device | Completed
2. | Procurement of Raw Materials | In process
3. | Development of Design 1 | Pending
4. | Testing of Design 1 | Pending
5. | Development of Design 2 | Pending
6. | Testing of Design 2 | 
7. | Comparative Analysis of both Designs | Pending
8. | Project Documentation | Pending

## Slide 3
DEVICE DESIGN 1
Electrical wire/signals
Disposable Circuit used for IBP
Reusable Device
Disposable Pressure Relief Valve

## Slide 4: DEVICE DESIGN 1: CRITICAL COMPONENTS
Disposable Blood Pressure Transducer
Pressure Relief Valve 50-70kPa Pressure Relief Valve 70-120kPa

## Slide 5
Disposable Pressure Relief Valve
DEVICE DESIGN 2

## Slide 6: DEVICE DESIGN 2: CRITICAL COMPONENTS
Disposable Pressure Gauge
Pressure Relief Valve 50-70kPa Pressure Relief Valve 70-120kPa